## Read Me
Read ME
This Alternative Elements Guide is developed directly from the Sustainable Groundwater Management Act (Act) and the Groundwater Sustainability Plan Emergency Regulations (GSP regulations). It is provided to support local agencies, Groundwater Sustainability Agencies (GSA), or other entities during preparation and submission of their Alternatives. The guide is organized according to the California Code of Regulation Sections of the GSP regulations that are applicable to Alternatives. In the event that information or recommendations in this guide are inconsistent with, conflicts with, or omits the requirements of the Act, applicable laws, or the GSP regulations, the Act, other laws, or the GSP regulations shall prevail. Each entity submitting an Alternative can provide DWR with the location of the required element of the Alternative by completing the last two columns of the checklist or provide their own documentation of the locations of the Alternative elements. This will support DWR in its review of these Alternative. If an element does not pertain to an entity, then briefly describe why that Alternative element does not apply to the entity

## Alternative Elements Guide
Alternative Annual Report Elements Guide
California Code of Regulations - GSP Regulation Sections | Alternative Elements | Document which attachment(s) contains the applicable alternative element. | Document which section(s), page number(s), or briefly describe why that Alternative element does not apply to the entity.
Article 7 | Annual Reports and Periodic Evaluations by the Agency
§ 356.2 | Annual Reports
| Each Agency shall submit an annual report to the Department by April 1 of each year following the adoption of the Plan. The annual report shall include the following components for the preceding water year: |  | Note: The Elements Guide is also included in the 2017 Annual Report (pdf file) placed after the Executive Summary, and includes the below references along with direct hyperlinks to each section of the report.
| (a) General information, including an executive summary and a location map depicting the basin covered by the report. | Annual Report | Executive Summary (§356.2(a))
| (b) A detailed description and graphical representation of the following conditions of the basin managed in the Plan: | Annual Report | Section 3.2 Groundwater Elevation Monitoring (§356.2(b))
| (1) Groundwater elevation data from monitoring wells identified in the monitoring network shall be analyzed and displayed as follows: | Annual Report | Chapter 4. Groundwater Elevations (§356.2(b)(1))
| (A) Groundwater elevation contour maps for each principal aquifer in the basin illustrating, at a minimum, the seasonal high and seasonal low groundwater conditions. | Annual Report | Section 4.2 Seasonal High and Low (Spring and Fall) (§356.2(b)(1)(A))
| (B) Hydrographs of groundwater elevations and water year type using historical data to the greatest extent available, including from January 1, 2015, to current reporting year. | Annual Report | Section 4.3 Select Hydrographs Including 2015 (§356.2(b)(1)(B))
| (2) Groundwater extraction for the preceding water year. Data shall be collected using the best available measurement methods and shall be presented in a table that summarizes groundwater extractions by water use sector, and identifies the method of measurement (direct or estimate) and accuracy of measurements, and a map that illustrates the general location and volume of groundwater extractions. | Annual Report | Chapter 5. Groundwater Extractions (§356.2(b)(2))
| (3) Surface water supply used or available for use, for groundwater recharge or in-lieu use shall be reported based on quantitative data that describes the annual volume and sources for the preceding water year. | Annual Report | Chapter 6. Surface Water Use (§356.2(b)(3))
| (4) Total water use shall be collected using the best available measurement methods and shall be reported in a table that summarizes total water use by water use sector, water source type, and identifies the method of measurement (direct or estimate) and accuracy of measurements. Existing water use data from the most recent Urban Water Management Plans or Agricultural Water Management Plans within the basin may be used, as long as the data are reported by water year. | Annual Report | Chapter 7. Total Water Use (§356.2(b)(4))
| (5) Change in groundwater in storage shall include the following: | Annual Report | Chapter 8. Change in Groundwater Storage (§356.2(b)(5))
| (A) Change in groundwater in storage maps for each principal aquifer in the basin. | Annual Report | Section 8.2 Storage Change Contours (§356.2(b)(5)(A))
| (B) A graph depicting water year type, groundwater use, the annual change in groundwater in storage, and the cumulative change in groundwater in storage for the basin based on historical data to the greatest extent available, including from January 1, 2015, to the current reporting year. | Annual Report | Section 8.2.2. Incremental and Cumulative change in storage 2005 and 2015 (§356.2(b)(5)(B))
| (c) A description of progress towards implementing the Plan, including achieving interim milestones, and implementation of projects or management actions since the previous annual report. | Annual Report | Chapter 9. Progress on Continued Sustainability as Alternative (§356.2(c))
§ 356.4 | Periodic Evaluation by Agency
Each Agency shall evaluate its Plan at least every five years and whenever the Plan is amended, and provide a written assessment to the Department. The assessment shall describe whether the Plan implementation, including implementation of projects and management actions, are meeting the sustainability goal in the basin, and shall include the following:
(a) A description of current groundwater conditions for each applicable sustainability indicator relative to measurable objectives, interim milestones and minimum thresholds.
(b) A description of the implementation of any projects or management actions, and the effect on groundwater conditions resulting from those projects or management actions.
(c) Elements of the Plan, including the basin setting, management areas, or the identification of undesirable results and the setting of minimum thresholds and measurable objectives, shall be reconsidered and revisions proposed, if necessary.
(d) An evaluation of the basin setting in light of significant new information or changes in water use, and an explanation of any significant changes. If the Agency’s evaluation shows that the basin is experiencing overdraft conditions, the Agency shall include an assessment of measures to mitigate that overdraft.
(e) A description of the monitoring network within the basin, including whether data gaps exist, or any areas within the basin are represented by data that does not satisfy the requirements of Sections 352.4 and 354.34(c). The description shall include the following:
(1) An assessment of monitoring network function with an analysis of data collected to date, identification of data gaps, and the actions necessary to improve the monitoring network, consistent with the requirements of Section 354.38.
(2) If the Agency identifies data gaps, the Plan shall describe a program for the acquisition of additional data sources, including an estimate of the timing of that acquisition, and for incorporation of newly obtained information into the Plan.
(3) The Plan shall prioritize the installation of new data collection facilities and analysis of new data based on the needs of the basin.
(f) A description of significant new information that has been made available since Plan adoption or amendment, or the last five-year assessment. The description shall also include whether new information warrants changes to any aspect of the Plan, including the evaluation of the basin setting, measurable objectives, minimum thresholds, or the criteria defining undesirable results.
(g) A description of relevant actions taken by the Agency, including a summary of regulations or ordinances related to the Plan.
(h) Information describing any enforcement or legal actions taken by the Agency in furtherance of the sustainability goal for the basin.
(i) A description of completed or proposed Plan amendments.
(j) Where appropriate, a summary of coordination that occurred between multiple Agencies in a single basin, Agencies in hydrologically connected basins, and land use agencies.
(k) Other information the Agency deems appropriate, along with any information required by the Department to conduct a periodic review as required by Water Code Section 10733.